## About Calculators
simplE-Check
Simple calculators to help effective engagement in electricity regulatory, policy & tariff processes
Available for download at: prayaspune.org/peg
Developed By: Prayas (Energy Group), Pune, India
February, 2019
Version 1.0
Reach us at: energy@prayaspune.org
Notes for users of simplE-Check
This workbook contains a set of 10 calculators which are designed with the objective of enabling quick understanding of various techno-economic aspects of the electricity sector. This would facilitate better engagement in regulatory and policy processes by civil society groups and consumer activists. When tariff petitions are filed by utilities or when regulatory orders are issued by Electricity Regulatory Commissions they often are several hundred pages long. This becomes a hindrance to public participation, especially for individuals newly introduced to the sector. These simple to use calculators help in understanding basic concepts and enable quick calculations. Users of these calculators are expected to have basic understanding of spreadsheet functionalities. Each calculator can be used independently.
For more details regarding some specific topics, users may wish to refer to "Know Your Power- A Citizens' Primer on the Electricity Sector". For details regarding other publications of Prayas (Energy Group), please see: http://www.prayaspune.org/peg/index.php Other spreadsheet based tools and models by Prayas (Energy Group) are also available on our website and include: Revenue and Tariff analysis for Electric Utilities (RATE) and RE Tariff and Financial Analysis Tool Version 2.
The calculators have been developed for research and analysis purpose and hence do not take into account specific regulations, methodologies, and terminology of any particular state. There may be slight variation or difference in details covered in regulations in different states.
Though every effort has been made to make the calculators user friendly, error-free and accurate, we are happy to receive suggestions and feedback to further improve them in terms of user-friendliness, simplicity, and any other aspect. The calculators have been made available on as- is basis and do not constitute any professional advice.
The results from any calculators or tools are only as good as the input assumptions. Hence care should be taken to ensure that the inputs are accurate and realistic. Cells, other than those marked as input cells in green, are locked to avoid inadvertent changes. User can unlock these cells to modify calculators as needed, as these are not password protected.

## Index
Sl No. | Tab Name | Calculator Name | Brief Description
C1 | Capacity- Net Generation | Capacity (MW) to annual net generation (MU) calculator | This calculates the annual net generation of a plant given the installed capacity and other parameters
C2 | Fixed Cost | Fixed cost payments to coal-based generation stations | This calculates the per unit fixed cost of procuring power
C3 | Variable Cost | Fuel consumption and variable cost of coal-based generation stations | This calculates coal consumption, cost of coal and the variable cost of power production
C4 | RPO | Generation (MU) & Capacity (MW) requirement for solar and non-solar RPO | This calculates the Renewable Purchase Obligations- Solar and Non-Solar in terms of energy and capacity
C5 | ARR Change | Comparing components and key parameters in ARRs | This looks at the various components of ARR and helps compare key statistics between existing and proposed ARRs
C6 | T&D and PP | Calculating Power purchase requirement based on T&D losses | This helps in comparing change in power purchase quantum and cost, with changes in Transmission and Distribution losses
C7 | Flat Rate Consumption | Calculating agricultural sales; Calculating average agricultural consumption | This helps to arrive at agricultural sales quantum or assessing the consumption norms with information typically found in tariff orders
C8 | Additional CAPEX | Impact of Additional CAPEX on ARR | This shows the impact of additional capital expenditure on the ARR
C9 | Delay in Payments | Cost of delaying payments to DISCOMs | This shows how the ARR is affected if payments are not made in time to the DISCOMs- how short term borrowings add to the ARR
C10 | Cross-Subsidy & Revenue Gap | Revenue Gap adjustment through change in cross-subsidy design | This helps the user change cross-subsidy designs of various consumer categories to assess the revenue gap for a year
| Consumption Calculator Links | Links to some energy consumption calculators | This is a list of links to various calculators to compute energy consumptions for various DISCOMs in India

## C1-Capacity-Net Generation
Capacity (MW) to annual net generation (MU) calculator
Please enter values in green cells
Often we see capacity of generation stations given in units of power (Megawatt or MW). It is useful to know how to convert this into units of electricity since much of billing and payments is based on electricity consumption in units. This calculator can be used for generation stations (of any technology/fuel) to answer questions such as: -How much electricity (in million units or MU) is generated by a generation station (in MW) in one year? -How much electricity can the station generate and how much does it actually generate in a year?
Particulars | Formula | Unit | Value | Notes
Capacity | A | MW | 1320 | Please enter the capacity (in MW) for your generation station.
Availability | B | % | 85% | Please enter a value (in %). Availability is the percentage of time the generation station is ready to generate electricity in a year.
PLF | C | % | 74% | Please enter a value (in %). Plant Load Factor is the percentage of time that the generation station actually generates electricity in a year. It is possible that the PLF < Availability if there is lesser demand for electricity.
Available (Gross) Generation | D=A*B*8.76 | MU | 9828.72 | This is the gross electricity (in MU) available from the station. The formula takes into consideration total number of hours in a year, i.e., 8760 hours
Actual (Gross) Generation | E=A*C*8.76 | MU | 8556.768 | This is the gross electricity (in MU) from the station actually generated.
Auxiliary consumption | F | % | 8.5% | Please enter a value (in %). Auxiliary consumption is the % of electricity used up in the generation process in the generation station, for example in running auxiliary machinery like pumps etc.
Available (Net) Generation | G=D*(1-F) | MU | 8993.2788 | This is the net electricity (in MU) available from the station for sale after accounting for auxiliary consumption.
Actual (Net) Generation | H=E*(1-F) | MU | 7829.4427 | This is the net electricity (in MU) from the station actually generated (and sold) after accounting for auxiliary consumption. This is the quantum of electricity input into the grid by the station and does not include any transmission or distribution losses.

## C2-Fixed Cost
Fixed cost payments to coal-based generation stations
Please enter values in green cells
Generation tariffs in India consist of two parts: a fixed cost and a variable cost. The fixed cost is all the costs of the plant except the fuel costs. Fixed cost includes depreciation, interest on loans, return on equity, operation and maintenance expenses, etc. The nature of cost-plus contracts in India is such that the fixed cost of the contracted plant has to be paid even if the plant is not dispatched to generate electricity. However, the recovery of the fixed cost of coal based generation is linked to its availability. If the plant meets the norm for availability then it can recover the full fixed cost. If the norm is not met, the fixed cost recoverable through tariff is proportionally reduced.
Particulars | Formula | Unit | Value | Notes
Capacity | A | MW | 1320 | Please enter the capacity (in MW) for your generation station.
Normative availability | B | % | 85% | Please enter a value (in %). Availability is the percentage of time the generation station is ready to generate electricity in a year. Normative availability are specified by individual electricity regulatory commissions in their regulations.
Actual availability | C | % | 70% | Please enter a value (in %). Actual availability is the availability that the generation station was able to achieve in a year. The actual availability of a plant can fall below the norm for many reasons, not all attributable to the plant. Availability can also be greater than normative availability.
Fixed cost (per year) | D | Rs. Cr | 1500 | Please enter the fixed cost (in Rs. crore) for the station for a particular year. Regulatory commissions typically specify fixed costs in Rs. / MW / yr. as part of their tariff orders or regulations.
Availability adjusted fixed cost | E=D*C/B | Rs. Cr | 1235.2941 | This is the fixed cost (in Rs. crore) recoverable from tariff. For actual availability less than normative availability, recoverable fixed costs would get reduced proportionately. For actual availability greater than normative availability there is no incentive and the entire fixed cost is recovered.
Auxiliary consumption | F | % | 8.5% | Please enter a value (in %). Auxiliary consumption is the % of electricity used up in the generation process in the generation station, for example in running ancillary machinery.
PLF | G | % | 74% | Please enter a value (in %). Plant Load Factor is the percentage of time that the generation station actually generates electricity in a year.
Net generation | H= A*G*8.76*(1-F) | MU | 7829.4427 | This is the electricity (in MU) from the station actually generated (and sold). This is the quantum of electricity input into the grid by the station and does not include any transmission or distribution losses.
Per unit fixed cost | I=E*10/H | Rs/kWh | 1.5778 | This figure gives the fixed cost per unit of electricity generated by the station.

## C3-Variable Cost
Fuel consumption and variable cost of coal-based generation stations
Please enter values in green cells
This tool will allow you to calculate the variable (mostly fuel) cost of a coal based power plant, as well as the total coal consumption of coal-based thermal generation station. It should be noted that coal transit loss, which is typically 1 % of coal requirement has not been considered in this calculator. If considered, variable cost and coal consumption will increase to that extent.
Step 1: Cost of Coal
Particulars | Formula | Unit | Value | Notes
Base price of coal | A | Rs/Ton | 2100 | Please enter the base price (in Rs. per metric ton).
Transport cost | B | Rs/Ton | 1500 | Please enter the cost of transporting coal (freight, road transport, etc.) (in Rs. per metric ton)
GST compensation cess | C | Rs/Ton | 400 | Please enter the cess (in Rs. per metric ton). The GST compensation cess was earlier known as the clean environment cess.
Duties, royalties, cess etc. | D | Rs/Ton | 500 | Please enter the total (in Rs. per metric ton) of the royalty paid to state governments as well as the various taxes and duties on coal.
Total cost of coal | E= A+B+C+D | Rs/Ton | 4500 | This is the cost of the coal at the generation station ('landed cost of coal').
Step 2: Variable Cost
Cost of coal | F | Rs/Ton | 4500 | By default, the tool uses the value from the above step. Please enter the total landed cost of coal (in Rs. per metric ton) if a breakup of costs as mentioned above is not available.
Gross Station Heat Rate (SHR) | G | kCal/kWh | 2222 | The Station Heat Rate is the amount of heat needed by the generation station to produce 1 unit of electricity.
Auxiliary consumption | H | % | 8% | Please enter a value (in %). Auxiliary consumption is the % of electricity used up in the generation process in the generation station, for example in running ancillary machinery.
Average GCV for coal | I | kCal/kg | 4000 | Please enter the calorific value of your coal. The Gross Calorific Value (GCV) of a fuel is the amount of heat released when 1 kg of it is burned.
Net Station Heat Rate (SHR) | J= G*(1+H) | kCal/kWh | 2399.76 | This is SHR after accounting for auxiliary consumption. Please note that auxiliary consumption causes the SHR to increase. If you only have the Net SHR, then enter it directly here.
Specific coal consumption (net generation basis) | K= J/I | kg/kWh | 0.59994 | This is the coal consumed for exporting / selling 1 unit of electricity (i.e. after accounting for auxiliary consumption)
Per unit variable cost | L= K*F/1000 | Rs/kWh | 2.6997 | This is the variable cost (in Rs/kWh) of producing 1 unit of electricity given your coal cost, coal quality (GCV) and plant's technology and efficiency (SHR).
Step 3: Total coal consumption for a specific plant
Specific coal consumption (net generation basis) | M | kg/kWh | 0.59994 | By default, the tool uses the value from the above step (E18). Please enter the specific coal consumption (in kg/kWh) if above mentioned data is not available.
Capacity | N | MW | 1320 | Please enter the capacity (in MW) for your generation station.
PLF | O | % | 74% | Please enter a value (in %). Plant Load Factor is the percentage of time that the generation station actually generates electricity in a year. It is possible that the PLF<Availability if there is lesser demand for electricity.
Actual (Net) Generation | P= N*O*8.76*(1-H) | MU / Yr. | 7872.2266 | This is the net electricity (in MU) from the station actually generated (and sold). This is the quantum of electricity input into the grid by the station and does not include any transmission or distribution losses.
Coal consumption | Q= K*P/10^3 | MT / Yr. | 4.7229 | This is the total amount of coal (in million metric ton) consumed by the generation station in a year.

## C4-RPO
Generation (MU) & Capacity (MW) requirement for solar and non-solar RPO
Please enter values in green cells
Renewable Purchase Obligations (RPOs) are minimum renewable energy targets which are specified in % terms in proportion to total electricity consumption (MU) of obligated entities, which are DISCOMs, Open Access consumers, and Captive consumers. This calculator calculates the solar and non-solar generation required, given the annual consumption of the entity and the solar/non-solar RPO shares. The calculator also calculates the solar and non-solar capacity (MW) that is required to be installed given the normative capacity utilisation factors (the ratio of how much generation typically takes place in a year to the maximum energy generation possible, given the technology).
Parameter | Unit | Value | Notes
Annual electricity requirement / input for the entity | MU | 100000 | This is the energy input for the DISCOM at the transmission periphery in a year (or requirement of OA/ captive consumers for self-consumption). This includes applicable distribution and transmission losses.
Solar RPO | % | 5% | This is decided by the SERC based on issuance of periodic regulations.
Non-Solar RPO | % | 10% | This is decided by the SERC based on issuance of periodic regulations.
Solar generation required to meet RPO | MU | 5000
Non-solar generation required to meet RPO | MU | 10000
Normative Capacity Utilisation Factor (CUF) |  |  | Capacity Utilisation Factor is the ratio of how much generation takes place in a year to the maximum energy generation possible, given the technology.
Wind |  | 30%
Solar |  | 20%
Biomass |  | 70%
Small Hydro |  | 40%
Bagasse |  | 50%
Solar capacity needed assuming normative CUF | MW | 2853.8813
Non-Solar capacity needed assuming all of it coming from:
either Wind | MW | 3805.175
or Biomass | MW | 1630.7893
or Small Hydro | MW | 2853.8813
or Bagasse | MW | 2283.105

## C5-ARR change
Comparing components and key parameters in ARRs
Please enter values in green cells
This calculator captures the various components of an Aggregate Revenue Requirement (ARR) and associated key parameters. When a future ARR is proposed by the DISCOM, or during any revision of costs, the DISCOM proposes such changes in a petition to the regulator. This calculator helps in understanding the difference between proposed and existing costs and how much impact they have on the ARR (which translates to a tariff change for the consumers). It is important to track various components such as power purchase quantum, its cost (as it forms the major component of ARR), sale of power to consumers and the revenue recovery thereof, to understand key ratios such as Average Power Purchase Cost (APPC), Average Billing Rate (ABR) and Average Cost of Supply (ACoS). Better is the financial position of a DISCOM as the ABR nears the value of ACoS. This means that the DISCOM is able to recover its cost through sale of power to consumers, thereby reducing the Revenue Gap.
Step 1: Enter existing values of components of ARR to see their % share in total costs. Filling values for proposed expenses will show % change in expenses as well.
Components of ARR | Unit | Existing Expenses | Proposed Expenses | % Change
Total power purchase cost | Rs. Cr | 7600 | 8950 | 17.76%
(Generally includes cost of long-term, medium-term, short term power purchase) | % of ARR | 75.62% | 75.4%
Total transmission cost (Inter-state and Intra-state) | Rs. Cr. | 1300 | 1600 | 23.08%
(These are charges paid to PGCIL and state transmission utilities for transmission of electricity from generating stations to DISCOMs' networks) | % of ARR | 12.94% | 13.48%
Operation and Maintenance (O&M) expenses | Rs. Cr | 580 | 600 | 3.448%
(Generally includes net employee expenses, administrative & general expenses, and repair and maintenance expenses) | % of ARR | 5.771% | 5.055%
Capital expenditure related expenses | Rs. Cr | 460 | 490 | 6.522%
(Generally includes interest on long term loans, return on equity, depreciation) | % of ARR | 4.577% | 4.128%
Other expenses | Rs. Cr | 110 | 230 | 109.1%
(Generally includes working capital requirement, income tax, etc.) | % of ARR | 1.095% | 1.938%
Aggregate Revenue Requirement (ARR) |  | 10050 | 11870 | 18.11%
Step 2: Fill in the following values to obtain important parameters related to the ARR |  | Existing | Proposed | % Change
Total sales | MU | 15290 | 17550 | 14.78%
Power purchase quantum | MU | 17580 | 20250 | 15.19%
Revenue from sale of power ( this is inclusive of government revenue subsidy) | Rs. Cr | 9250 | 11250 | 21.62%
Non-Tariff income | Rs. Cr. | 220 | 265 | 20.45%
(Includes rent and interest received, delayed payment charges, revenue from sale of scrap, royalty, new connection charges etc.)
Average Power Purchase Cost (APPC) without transmission cost | Rs./kWh | 4.3231 | 4.4198 | 2.236%
Average Power Purchase Cost (APPC) with transmission cost | Rs./kWh | 5.0626 | 5.2099 | 2.91%
Average Cost of Supply (ACoS) | Rs./kWh | 6.5729 | 6.7635 | 2.9%
Average Billing Rate (ABR) | Rs./kWh | 6.0497 | 6.4103 | 5.96%
Current year revenue gap (+)/ revenue surplus (-) | Rs. Cr | 580 | 355 | -38.79%

## C6-T&D and PP
Calculating Power purchase requirement based on T&D losses
Please enter values in green cells
This calculator helps in understanding how much power purchase quantum is required, given a certain demand and accounting for Transmission and Distribution losses (column D). It also helps in understanding how Power Purchase quantum and cost can be reduced by reducing Transmission and Distribution Losses (as demonstrated in case B) (column E).
Parameter | Unit | Case A | Case B
Sales | MU | 5000 | 5000
Distribution losses | % | 12% | 8%
Transmission losses | % | 5% | 4%
Power purchase requirement | MU | 5980.8612 | 5661.2319
Average Power Purchase Cost (APPC) (without transmission cost) | Rs/kWh | 4 | 4
Total power purchase cost | Rs crore | 2392.3445 | 2264.4928
Difference in power purchase cost due to change in losses | Rs crore | -127.8517

## C7-Flat Rate Consumption
Calculating agricultural sales
Please enter values in green cells
How is unmetered sales estimation done when the following information is available in a tariff order/petition: Number of consumers, connected load, and normative benchmark consumption
Parameter | Unit | Value | Notes
Number of agricultural consumers | No. | 70000 | Information on number of agricultural consumers is generally found in the chapter on sales estimation or in annexures of tariff petitions or regulatory orders, or in tariff formats filed by the DISCOM.
Total agricultural connected load | HP | 350000 | Information on connected load of agricultural consumers is generally found in the chapter on sales estimation or in annexures of tariff petitions or regulatory orders, or in tariff formats filed by the DISCOM.
Average load per consumer | HP | 5
Normative benchmark consumption | kWh/HP/year | 1380 | Benchmark consumption is often mentioned in the chapter on sales estimation in petitions and regulatory orders. Be careful to check if this is it given as kWh / HP / Yr. or Hours / HP / Yr. (1 HP = 0.746 kW)
Unmetered agricultural sales | MU/year | 483
Calculating average agricultural consumption
Please enter values in green cells
How is average consumption calculate when information on normative benchmark consumption is not given and the following information is available in a tariff order/ petition: Number of consumers, connected load, sales estimation
Parameter | Unit | Value | Notes
Number of agricultural consumers | No. | 70000 | Information on number of agricultural consumers is generally found in the chapter on sales estimation or in annexures of tariff petitions or regulatory orders, or in tariff formats filed by the DISCOM
Total agricultural connected load | HP | 350000 | Information on connected load of agricultural consumers is generally found in the chapter on sales estimation or in annexures of tariff petitions or regulatory orders, or in tariff formats filed by the DISCOM
Estimated agricultural sales by DISCOM/ ERC | MU/year | 483 | Information on agricultural sales is generally found in the chapter on sales estimation or in annexures of tariff petitions or regulatory orders, or in tariff formats filed by the DISCOM
Average consumption | kWh/HP/year | 1380

## C8-Additional CAPEX
Impact of Additional CAPEX on ARR
Please enter values in green cells
What happens when the distribution company decides to spend money on its substations, machinery, cables and lines, etc.? How does it impact the revenue the company recovers from consumers (the ARR)? A distribution company invests in distribution assets (substations, cables, etc.) from time to time. This capital expenditure or CAPEX is usually funded through a combination of loan (debt) and equity (money put in by the company itself). The CAPEX is not recovered from the consumers in one single year, but is instead spread out and recovered through three different charges (interest on loan, depreciation and return on equity). This calculator lets you see how CAPEX in a single year impacts the revenue to be recovered from consumers (the ARR) for the next 20 years.
Particulars |  |  | Values | Notes
Amount of CAPEX (Rs. crore) |  |  | 6500 | Enter value of capital expenditure in Rs. crore
Percentage of debt |  |  | 70% | Enter the percentage of expenditure met by Debt (in %). A Debt: Equity ratio of 70%: 30% is common. This is usually mentioned in state-specific regulations
Rate of interest on loans |  |  | 10% | Enter rate of interest on loan (debt) (in %)
Tenure of loans (in years) |  |  | 10 | Enter the number of years in which loan is to be repaid (between 1 and 15 years). This is usually mentioned in state-specific regulations
Rate of return on equity |  |  | 15% | Enter the rate of return on equity (in %)
Rate of depreciation |  |  | 6% | Enter the rate of depreciation (in %) | 4.5
Depreciation limited to |  |  | 90% | Enter the maximum allowed cumulative depreciation as a percentage of CAPEX (in %)
Year | Return on Equity | Depreciation | Interest on Loan | Impact on ARR
No. | Rs. Cr | Rs. Cr | Rs. Cr | Rs. Cr
1 | 292.5 | 390 | 455 | 1137.5
2 | 292.5 | 390 | 426.4508 | 1108.9508
3 | 292.5 | 390 | 395.0468 | 1077.5468
4 | 292.5 | 390 | 360.5023 | 1043.0023
5 | 292.5 | 390 | 322.5034 | 1005.0034
6 | 292.5 | 390 | 280.7046 | 963.2046
7 | 292.5 | 390 | 234.7259 | 917.2259
8 | 292.5 | 390 | 184.1493 | 866.6493
9 | 292.5 | 390 | 128.5151 | 811.0151
10 | 292.5 | 390 | 67.3174 | 749.8174
11 | 292.5 | 390 | 0 | 682.5
12 | 292.5 | 390 | 0 | 682.5
13 | 292.5 | 390 | 0 | 682.5
14 | 292.5 | 390 | 0 | 682.5
15 | 292.5 | 390 | 0 | 682.5
16 | 292.5 | 0 | 0 | 292.5
17 | 292.5 | 0 | 0 | 292.5
18 | 292.5 | 0 | 0 | 292.5
19 | 292.5 | 0 | 0 | 292.5
20 | 292.5 | 0 | 0 | 292.5
Calculations for Depreciation
Year | Depreciation (straight-line method) | Cumulative depreciation | Balance depreciation | Yearly depreciation
1 | 390 | 390 |  | 390
2 | 390 | 780 | 5460 | 390
3 | 390 | 1170 | 5070 | 390
4 | 390 | 1560 | 4680 | 390
5 | 390 | 1950 | 4290 | 390
6 | 390 | 2340 | 3900 | 390
7 | 390 | 2730 | 3510 | 390
8 | 390 | 3120 | 3120 | 390
9 | 390 | 3510 | 2730 | 390
10 | 390 | 3900 | 2340 | 390
11 | 390 | 4290 | 1950 | 390
12 | 390 | 4680 | 1560 | 390
13 | 390 | 5070 | 1170 | 390
14 | 390 | 5460 | 780 | 390
15 | 390 | 5850 | 390 | 390
16 | 390 | 6240 | 0 | 0
17 | 390 | 6630 | 0 | 0
18 | 390 | 7020 | 0 | 0
19 | 390 | 7410 | 0 | 0
20 | 390 | 7800 | 0 | 0

## C9-Delay of payments to DISCOM
Cost of delaying payments to DISCOMs
Please enter values in green cells
Sometimes the electricity commission approves costs as legitimate but does not allow them to become part of the ARR; it instead delays the recovery from consumers by forming revenue gaps (also called regulatory assets). What is the impact of this delay on consumer tariff in future years? Delay of payments results in distribution company resorting to short term borrowing. This additional cost needs to be compensated to maintain DISCOMs financial viability. This calculator can be used to see how much payment (principal + interest) will be made each year, if the delayed payment is to be recovered in equal parts over few years from consumers.
Particulars | Values | Notes
Delayed payments (Rs. Cr) | 6500 | Enter the amount of payments delayed or deferred in Rs. crore
Payment period (years) | 4 | Enter the number of years over which the delayed amounts will be recovered from consumers
Rate of interest on delayed payments (%) | 10% | Enter the interest rate on delayed amounts
Annual recovery of delayed payment from consumers (Rs. Cr / Yr) | 2050.5602
Total recovery to be made (Rs. Cr) | 8202.2409
Additional carrying cost/additional burden passed on to the consumers due to deferred revenue recovery ? (Rs. Cr) | 1702.2409

## C10-Cross-Subsidy & Revenue Gap
Revenue Gap adjustment through change in cross-subsidy design
Please enter values in green cells
This calculator helps in making changes to cross-subsidy design in a way to see its impact on the revenue gap. The user can first fill in the information for Sales to various consumer categories (column C) and the total ARR (cell C19). Now they can enter tariff (inclusive of revenue subsidy by government) as % of average cost of supply in column D , i.e. how much more/less a category should pay than the Average Cost of Supply (cell C20). The Average Billing Rate or tariff for each category is computed by the calculator (column E). Changing the cross-subsidy design helps us see the change in Revenue Gap (cell C21- it turns red when there is a revenue gap).
Consumer Category | Sales | Tariff as % of Average Cost of Supply | Average Billing Rate (ABR) | Revenue from Sale of Power | Cross Subsidy Received | ACoS
Units | (MU) | % | (Rs/Kwh) | (Rs. Cr) |  | 3.1746
Low Tension | 5000 |  |  | 1277.7778 |  | 3.1746
LT-I: Domestic | 1000 | 90% | 2.8571 | 285.7143 | 0.31746 | 3.1746
LT-II: Commercial | 700 | 95% | 3.0159 | 211.1111 | 0.15873 | 3.1746
LT-III: Industrial | 1200 | 95% | 3.0159 | 361.9048 | 0.15873 | 3.1746
LT-IV: Agricultural | 1500 | 50% | 1.5873 | 238.0952 | 1.5873 | 3.1746
LT-V: Others | 600 | 95% | 3.0159 | 180.9524 | 0.15873 | 3.1746
High Tension | 1300 |  |  | 577.7778 |  | 3.1746
HT-I: Industrial | 800 | 135% | 4.2857 | 342.8571 | 0 | 3.1746
HT-II: Commercial | 300 | 160% | 5.0794 | 152.381 | 0 | 3.1746
HT-III: Others | 200 | 130% | 4.127 | 82.5397 | 0 | 3.1746
Total | 6300 |  |  | 1855.5556
ARR (Rs. Cr.) | 2000
ACoS (Rs./ kWh) | 3.1746
Revenue Gap (+) / Revenue Surplus(-) | 144.4444
Revenue Gap (as a % of ARR) | 7.222%

## Consumption Calculator Links
Links to some energy consumption calculators
State | DISCOM | Link
All States | All States | https://www.bijlibachao.com/electricity-bill/online-electricity-bill-calculator-for-all-states-in-india.html
Andhra Pradesh | APSPDCL | https://www.apspdcl.in/SPDCL_Home.portal?_nfpb=true&_pageLabel=Login_portal_page_99
Assam | APDCL | https://apdcl.power.uneecopscloud.com/information-services/energy-calculator
Delhi | Tata Power, Delhi | https://tatapower-ddl.com/ecs/forms/loginportal.aspx
Gujarat | PGVCL | http://www.pgvcl.com/consumer/CONSUMER/calculate_n.php
Karnataka | CESCO | http://www.cescmysore.org/en/consumption-calculator
Madhya Pradesh | MP East DISCOM | http://www.mpez.co.in/portal/Jabalpur_home.portal?_nfpb=true&_pageLabel=custCentre_consCalc_jbl
Maharashtra | MSEDCL | https://wss.mahadiscom.in/wss/wss?uiActionName=getApplianceParticulars
Tamil Nadu | TANGEDCO | https://www.tnebnet.org/awp/tariffMaster;jsessionid=8Qyc+2QaiytZ-veQ87IWn+mP?execution=e1s1
Uttar Pradesh | UPPCL | http://www.uppclonline.com/dispatch/Portal/appmanager/uppcl/wss?_nfpb=true&_pageLabel=uppcl_consumption_consumptionCalculator&pageID=1011
West Bengal | WBSEDCL | https://www.wbsedcl.in/irj/go/km/docs/internet/new_website/energyCostEstimator.html